## Tabelle1
Parent | ID | Title | Text | Comments | Verification | Applicability
REQ-MIS-004 | REQ-IPU-001 | Processing Capability | The processing unit shall process instrument data in real time without loss. | Define margin. | Verify via performance testing. | IPU
REQ-INST-004 | REQ-IPU-002 | Memory Capacity | The processing unit shall store at least 24 hours of instrument data. | Depends on data rate. | Verify via memory testing. | IPU
REQ-INST-001 | REQ-IPU-003 | Data Throughput | The processing unit shall support required data throughput to spacecraft. | Include peak rates. | Verify via throughput testing. | IPU
REQ-INST-001 | REQ-IPU-004 | Interface Support | The processing unit shall support required communication interfaces. | Deleted | Verify via interface validation. | IPU
REQ-INST-003 | REQ-IPU-005 | Mode Control | The processing unit shall manage instrument operational modes. | Ensure safe transitions. | Verify via mode testing. | IPU
REQ-INST-006 | REQ-IPU-006 | Calibration Processing | The processing unit shall process calibration data and apply corrections. | Supports accuracy requirements. | Verify via calibration validation. | IPU
REQ-INST-002 | REQ-IPU-007 | Command Handling | The processing unit shall interpret and route commands internally. | Includes validation. | Verify via command tests. | IPU